NIRMA UNIVERSITY
School of Engineering, Institute of Technology
B. Tech. in Chemical Engineering
Second Year / Semester IV
L	T	P	C
3	0	2	4

Course Code	2CH403
Course Title	Instrumentation and Process Control

Course Outcomes (CO):
At the end of the course, student will be able to -
1. classify and demonstrate open and closed loop control systems
2. select appropriate instruments for various applications in chemical industry
3. analyse the order of control system with its transfer function
4. design control loops with appropriate controllers and control valve

Syllabus		Teaching Hours
Unit 1	Control Systems	20
	Linear Open-Loop Control Systems: Response of first-order systems, physical examples of first-order systems, response of first-order systems to various inputs, first-order systems in series, higher-order systems: second-order and transportation lag. / Linear Closed-Loop Control Systems: Control system, closed-loop transfer functions, stability, root locus, introduction to frequency response. / Computers in Control System: Introduction to microprocessor based controllers, distributed control system (DCS), programmable logic control (PLC), supervisory control and data acquisition (SCADA).
Unit 2	Controllers and Final Control Elements	10
	Controllers and Final Control Elements: Controllers, final control elements, control valves.
Unit 3	Industrial Instrumentation	15
	Elements of Measurement Instruments: Types of measurement, classification of instrument, parts of instruments, performance characteristics. / Measurement of Temperature: Temperature scales, solid, liquid and gas expansion thermometers, filled system thermometers, electrical temperature sensors, thermistor, thermocouple, pyrometers, etc. / Measurement of Pressure: Elastic pressure transducers, electrical transducers, inductance type pressure transducers, forced balanced pressure gauge, measurement of differential pressure, vacuum measurement, techniques for protection of pressure gauges, comparison of pressure sensors. / Measurement of Level: Direct level measurement, indirect level measurement methods like hydrostatic, electrical capacitance, radiation, ultrasonic, solid level measurement.
Self Study / The self study contents will be declared at the commencement of semester. Around 10% of the questions will be asked from self study contents.
Laboratory Work: / Laboratory work will be based on above syllabus with minimum 12 experiments to be incorporated.

Suggested Readings:
1. Coughanowr, D. R., Process systems analysis and control (Indian Edition), McGraw-Hill.
2. Stephanopoulos, G., Chemical process control - An Introduction to Theory and Practice, Prentice hall India.
3. Sikdar, D.C., Instrumentation and process control, Khanna Publication
4. Eckman D., Industrial Instrumentation, CBS Publishers.
5. Kulkarni, A. P., Process Instrumentation and Control, Nirali Prakashan.
6. Radhakrishnan, V.R., Instrumentation and Control for Chemical, Mineral and Metallurgical Processes, Allied Publishers.

L = Lecture, T= Tutorial, P=Practical, C=Credit